## MAR. (2)
CAMARINES SUR III ELECTRIC COOPERATIVE INC. | [57 empty] | TOPAS NABUA 10MVA SUBSTATION INTERRUPTION MONITORING REPORT
SAN ISIDRO, IRIGA CITY
[52 empty] | DATE: | [5 empty] | SECONDARY SIDE INTERRUPTION REPORT
[58 empty] | FROM (HH:MM:SS) | TO (HH:MM:SS) | DURATION (HH:MM:SS) | MAIN FEEDER
[61 empty] | IA | IB | IC | IN/IG | REMARKS
TOPAS NABUA 10MVA SUBSTATION - DAILY OPERATIONS MONITORING REPORT
[58 empty] | FROM (HH:MM:SS) | TO (HH:MM:SS) | DURATION (HH:MM:SS) | FEEDER 7
TIME | MAIN FEEDER METER | [11 empty] | FEEDER 7 METER | [12 empty] | FEEDER 8 METER | [11 empty] | FEEDER 9 METER | [12 empty] | POWER TRANSFORMER |  | POWER CIRCUIT BREAKER | BATTERY CHARGER | [6 empty] | IA | IB | IC | IN/IG | REMARKS
| LINE-LINE VOLTAGE (VOLTS) |  |  | CURRENT READING (AMPERES) |  |  |  | VOLTAGE READING |  |  | ENERGY (KWHr) | SF6 GAS LEVEL (Bar) | CURRENT READING (AMPERES) |  |  |  | POWER FACTOR |  |  |  | VOLTAGE READING |  |  | ENERGY (KWHr) | BATTERY | POWER FACTOR |  |  |  | VOLTAGE READING |  |  | POWER FACTOR |  |  |  | ENERGY (KWHr) | SF6 GAS LEVEL (Bar) | CURRENT READING (AMPERES) |  |  |  | POWER FACTOR |  |  |  | VOLTAGE READING |  |  | ENERGY (KWHr) | BATTERY | WINDING TEMP. (Deg. Celsius) | OIL TEMP. (Deg. Celsius) | SF6 GAS LEVEL (psi) | VOLTAGE OUTPUT (Vdc)
| L1L2 | L2L3 | L3L1 | A | B | C | N | L1 | L2 | L3 |  |  | A | B | C | N | A | B | C | AVE. | L1 | L2 | L3 |  |  | A | B | C | N | L1 | L2 | L3 | A | B | C | AVE. |  |  | A | B | C | N | A | B | C | AVE. | L1 | L2 | L3 | [6 empty] | I Total | KVA
1:00 | 68507 | 68893 | 67815 | 22 | 18 | 35 | 17 | 7826 | 7882 | 7749 |  |  | 115 | 75 | 99 | 36 |  |  |  |  | 7826 | 7882 | 7749 |  |  | 23 | 13 | 37 | 19 | 7826 | 7882 | 7749 | 7749 | [5 empty] | 28 | 33 | 36 | 8 |  |  |  |  | 7826 | 7882 | 7749 | [6 empty] | 153 | 3497.9472
2:00 | 68302 | 68533 | 67565 | 22 | 8 | 35 | 19 | 7805 | 7847 | 7714 |  |  | 109 | 70 | 93 | 35 |  |  |  |  | 7805 | 7847 | 7714 |  |  | 22 | 12 | 36 | 19 | 7805 | 7847 | 7714 | [6 empty] | 25 | 32 | 34 | 9 |  |  |  |  | 7805 | 7847 | 7714 | [6 empty] | 144.3333 | 3299.8064
3:00 | 68653 | 68889 | 67880 | 21 | 10 | 33 | 16 | 7854 | 7889 | 7756 | 714078 | 0.41 | 106 | 67 | 89 | 34 | 0.99 | 1 | 1 | 0.99 | 7854 | 7889 | 7756 | 322294 | 26.5 | 21 | 13 | 35 | 18 | 7854 | 7889 | 7756 |  |  |  |  | 726153 | 0.41 | 25 | 31 | 33 | 8 | 0.99 | 0.99 | 0.98 | 0.98 | 7854 | 7889 | 7756 | 161744 | 26.5 | 40 | 40 | 60 | 136 | 140 | 3200.736 | FROM (HH:MM:SS) | TO (HH:MM:SS) | DURATION (HH:MM:SS) | FEEDER 8
4:00 | 68817 | 69023 | 68043 | 20 | 9 | 32 | 16 | 7861 | 7896 | 7763 |  |  | 102 | 65 | 86 | 33 |  |  |  |  | 7861 | 7896 | 7763 |  |  | 21 | 12 | 34 | 18 | 7861 | 7896 | 7763 | [6 empty] | 26 | 31 | 32 | 6 |  |  |  |  | 7861 | 7896 | 7763 | [6 empty] | 136.3333 | 3116.9072 |  |  |  | IA | IB | IC | IN/IG | REMARKS
5:00 | 68563 | 68701 | 67705 | 21 | 10 | 32 | 15 | 7833 | 7854 | 7728 |  |  | 104 | 63 | 87 | 37 |  |  |  |  | 7833 | 7854 | 7728 |  |  | 22 | 12 | 35 | 18 | 7833 | 7854 | 7728 | [6 empty] | 27 | 31 | 32 | 6 |  |  |  |  | 7833 | 7854 | 7728 | [6 empty] | 137.6667 | 3147.3904
6:00 | 69040 | 69391 | 68321 | 21 | 11 | 37 | 21 | 7889 | 7938 | 7798 | 714837 | 0.41 | 104 | 67 | 93 | 35 | 1 | 0.99 | 1 | 1 | 7889 | 7938 | 7798 | 328363 | 26.5 | 24 | 12 | 38 | 22 | 7889 | 7938 | 7798 |  |  |  |  | 727812 | 0.41 | 30 | 34 | 33 | 4 | 0.98 | 0.99 | 0.98 | 0.98 | 7889 | 7938 | 7798 | 163848 | 26.5 | 42 | 42 | 60 | 136 | 145 | 3315.048
7:00 | 68757 | 69195 | 68071 | 21 | 13 | 35 | 19 | 7854 | 7903 | 7763 |  |  | 98 | 66 | 86 | 30 |  |  |  |  | 7854 | 7903 | 7763 |  |  | 23 | 13 | 36 | 19 | 7854 | 7903 | 7763 | [6 empty] | 24 | 34 | 29 | 8 |  |  |  |  | 7854 | 7903 | 7763 | [6 empty] | 136.3333 | 3116.9072
8:00 | 68387 | 68819 | 67694 | 22 | 13 | 33 | 16 | 7805 | 7875 | 7721 |  |  | 94 | 61 | 85 | 31 |  |  |  |  | 7805 | 7875 | 7721 |  |  | 24 | 14 | 35 | 18 | 7805 | 7875 | 7721 | [6 empty] | 25 | 32 | 29 | 6 |  |  |  |  | 7805 | 7875 | 7721 | [6 empty] | 133 | 3040.6992
9:00 | 67470 | 67795 | 66669 | 25 | 13 | 35 | 17 | 7738 | 7710 | 7615 | 715592 | 0.41 | 105 | 69 | 95 | 35 | 1 | 1 | 1 | 1 | 7609 | 7658 | 7518 | 334256 | 26.5 | 26 | 14 | 38 | 19 | 7602 | 7658 | 7511 |  |  |  |  | 729501 | 0.41 | 27 | 33 | 32 | 5 | 0.99 | 0.99 | 0.98 | 0.99 | 7609 | 7658 | 7511 | 165918 | 26.5 | 46 | 44 | 60 | 136 | 146.3333 | 3345.5312
10:00 | 67724 | 68167 | 66951 | 26 | 14 | 39 | 21 | 7721 | 7784 | 7630 |  |  | 113 | 74 | 99 | 36 |  |  |  |  | 7630 | 7700 | 7539 |  |  | 28 | 14 | 42 | 23 | 7630 | 7658 | 7539 | [6 empty] | 30 | 37 | 36 | 6 |  |  |  |  | 7630 | 7686 | 7539 | [6 empty] | 157.6667 | 3604.6384 | FROM (HH:MM:SS) | TO (HH:MM:SS) | DURATION (HH:MM:SS) | FEEDER 9
11:00 | 67694 | 68229 | 66986 | 27 | 15 | 39 | 17 | 7719 | 7791 | 7630 |  |  | 122 | 77 | 109 | 42 |  |  |  |  | 7630 | 7714 | 7546 |  |  | 27 | 16 | 41 | 20 | 7637 | 7707 | 7546 | [6 empty] | 32 | 36 | 37 | 4 |  |  |  |  | 7630 | 7707 | 7546 | [6 empty] | 165.6667 | 3787.5376 |  |  |  | IA | IB | IC | IN/IG | REMARKS
12:00 | 68146 | 68687 | 67497 | 25 | 15 | 38 | 17 | 7777 | 7854 | 7686 | 716553 | 1 | 117 | 76 | 97 | 36 | 1 | 1 | 1 | 1 | 7686 | 7749 | 7602 | 341008 | 26.5 | 25 | 17 | 41 | 20 | 7686 | 7749 | 7602 |  |  |  |  | 731430 | 0.41 | 29 | 35 | 36 | 6 | 0.99 | 0.99 | 0.99 | 0.99 | 7679 | 7749 | 7595 | 168293 | 26.5 | 44 | 42 | 60 | 136 | 157.6667 | 3604.6384
13:00 | 68354 | 68873 | 67678 | 25 | 13 | 38 | 19 | 7791 | 7868 | 7707 |  |  | 120 | 78 | 94 | 37 |  |  |  |  | 7700 | 7777 | 7616 |  |  | 24 | 15 | 40 | 20 | 7707 | 7777 | 7623 | [6 empty] | 32 | 34 | 37 | 6 |  |  |  |  | 7700 | 7777 | 7616 | [6 empty] | 158 | 3612.2592
14:00 | 67918 | 68510 | 67244 | 22 | 16 | 39 | 20 | 7701 | 7828 | 7616 |  |  | 119 | 78 | 98 | 37 |  |  |  |  | 7658 | 7735 | 7574 |  |  | 25 | 16 | 42 | 21 | 7651 | 7728 | 7567 | [6 empty] | 31 | 35 | 38 | 7 |  |  |  |  | 7651 | 7728 | 7567 | [6 empty] | 160.6667 | 3673.2256
15:00 | 67491 | 68065 | 66786 | 26 | 14 | 38 | 19 | 7700 | 7777 | 7609 | 717395 | 0.41 | 116 | 76 | 93 | 36 | 1 | 1 | 1 | 1 | 7609 | 7686 | 7518 | 347589 | 26.5 | 27 | 17 | 40 | 19 | 7602 | 7679 | 7518 |  |  |  |  | 733267 | 0.41 | 31 | 35 | 37 | 6 | 0.99 | 0.99 | 0.99 | 0.99 | 7602 | 7679 | 7518 | 170591 | 26.5 | 43 | 42 | 60 | 136 | 157.3333 | 3597.0176
16:00 | 67688 | 68345 | 67061 | 23 | 17 | 37 | 14 | 7721 | 7805 | 7630 |  |  | 110 | 72 | 97 | 36 |  |  |  |  | 7609 | 7700 | 7539 |  |  | 24 | 19 | 39 | 16 | 7616 | 7700 | 7539 | [6 empty] | 30 | 33 | 37 | 7 |  |  |  |  | 7609 | 7693 | 7532 | [6 empty] | 153.6667 | 3513.1888
17:00 | 68153 | 68975 | 67682 | 25 | 17 | 39 | 17 | 7777 | 7875 | 7707 |  |  | 113 | 73 | 92 | 38 |  |  |  |  | 7686 | 7791 | 7616 |  |  | 26 | 19 | 42 | 19 | 7686 | 7784 | 7616 | [6 empty] | 29 | 37 | 34 | 7 |  |  |  |  | 7679 | 7784 | 7609 | [6 empty] | 155 | 3543.672
18:00 | 66853 | 68097 | 66481 | 28 | 21 | 43 | 19 | 7616 | 7770 | 7567 | 718391 | 0.41 | 130 | 88 | 114 | 40 | 1 | 1 | 1 | 1 | 7525 | 7693 | 7483 | 354102 | 26.5 | 30 | 22 | 44 | 20 | 7525 | 7686 | 7476 |  |  |  |  | 735226 | 0.41 | 33 | 38 | 40 | 7 | 0.99 | 0.99 | 0.99 | 0.99 | 7525 | 7686 | 7483 | 172873 | 26.5 | 42 | 41 | 60 | 136 | 179.6667 | 4107.6112 | PRIMARY SIDE INTERRUPTION REPORT
19:00 | 67109 | 68603 | 66802 | 32 | 25 | 52 | 22 | 7620 | 7802 | 7609 |  |  | 161 | 101 | 139 | 57 |  |  |  |  | 7560 | 7749 | 7532 |  |  | 35 | 25 | 54 | 24 | 7567 | 7749 | 7532 | [6 empty] | 45 | 50 | 49 | 6 |  |  |  |  | 7560 | 7749 | 7539 | [6 empty] | 219.6667 | 5022.1072 | FROM (HH:MM:SS) | TO (HH:MM:SS) | DURATION (HH:MM:SS)
20:00 | 68162 | 69545 | 67926 | 31 | 21 | 52 | 25 | 7772 | 7895 | 7721 |  |  | 155 | 98 | 132 | 52 |  |  |  |  | 7679 | 7854 | 7644 |  |  | 34 | 22 | 54 | 26 | 7679 | 7847 | 7637 | [6 empty] | 43 | 47 | 47 | 6 |  |  |  |  | 7665 | 7840 | 7637 | [6 empty] | 210.6667 | 4816.3456 |  |  |  | IA | IB | IC | IN/IG | REMARKS
21:00 | 68150 | 69504 | 67904 | 32 | 20 | 47 | 22 | 7684 | 7724 | 7721 | 719765 | 0.41 | 153 | 98 | 129 | 50 | 1 | 1 | 1 | 1 | 7724 | 7684 | 7644 | 363016 | 26.5 | 32 | 20 | 50 | 24 | 7602 | 7679 | 7518 |  |  |  |  | 737938 | 0.41 | 40 | 44 | 46 | 8 | 0.99 | 0.99 | 0.99 | 0.99 | 7679 | 7784 | 7609 | 176230 | 26.5 | 42 | 41 | 60 | 136 | 204 | 4663.9296
22:00 | 68160 | 69484 | 67952 | 27 | 16 | 44 | 23 | 7701 | 7828 | 7616 |  |  | 140 | 88 | 118 | 47 |  |  |  |  | 7679 | 7854 | 7644 |  |  | 29 | 16 | 44 | 23 | 7686 | 7784 | 7616 | [6 empty] | 34 | 38 | 41 | 7 |  |  |  |  | 7651 | 7728 | 7567 | [6 empty] | 182.6667 | 4176.1984
23:00 | 68864 | 69994 | 67988 | 23 | 15 | 38 | 17 | 7684 | 7722 | 7721 |  |  | 127 | 80 | 107 | 44 |  |  |  |  | 7686 | 7791 | 7616 |  |  | 25 | 15 | 40 | 20 | 7679 | 7847 | 7637 | [6 empty] | 31 | 35 | 39 | 8 |  |  |  |  | 7602 | 7679 | 7518 | [6 empty] | 166.3333 | 3802.7792
24:00 | 68866 | 69998 | 67987 | 22 | 11 | 37 | 17 | 7864 | 7492 | 7658 | 720829 | 0.41 | 117 | 76 | 100 | 37 | 1 | 1 | 1 | 1 | 7688 | 7792 | 7648 | 371930 | 26.5 | 23 | 14 | 38 | 19 | 7792 | 7847 | 7634 |  |  |  |  | 740127 | 0.41 | 29 | 32 | 36 | 7 | 0.99 | 0.99 | 0.99 | 0.99 | 7864 | 7724 | 7721 | 178968 | 26.5 | 42 | 41 | 60 | 136 | 155 | 3543.672
[58 empty] | TENDER: | [7 empty] | SIGNATURE:
SIGNATURE:
TENDER: |  | ENGR. JOHN CERILLO | [11 empty] | TIME OF DUTY: | [6 empty] | 12mn - 8am | [36 empty] | TENDER: | [7 empty] | SIGNATURE:
SIGNATURE:
TENDER: |  | ENGR. CRISMAR SABORDO | [11 empty] | TIME OF DUTY: | [6 empty] | 8am - 8pm | [36 empty] | TENDER: | [7 empty] | SIGNATURE:
SIGNATURE:
TENDER: |  | MR. NESTOR BAÑARIA | [11 empty] | TIME OF DUTY: | [6 empty] | 8pm - 12mn